## Sheet1
Repair works by reference to the Log Book and Church Accounts - St Mary's Ashendon.
Year | Statement in the log book | Description in Accounts | Amount
1965 | Lead removed from Nave roof, recast, made good with pig lead.
Downpipies and gutters of Nave made good. Where replacement was necessary the new parts are plastic.
Nave clerestorey windows made weathertight
Bulge in South Wall of Nave straightened out
Open joints of stonework raked out and pointed
Nave East and South walls pinned together at SE corner of Nave where there was no interlocking
1967 | Old roof to S.Aisle removed. Recovered with copper with insulation underlay.
Wooden floor at East end of S. Aisle removed and paved with secondhand stone.
The decayed flooring of the main seating area of the S.Aisle removed and paved in secondhand stone.
The existing pews were removed.
1970 | Stones above porch strenghened and replaced where necessary
Archway over South Aisle strenghened
1971 | Stonework and glazing repairs to windows
Nave Clerestorey, mullions renewed in the three South windows, reglazed - ventilators removed
South Aisle windows reglazed
Chancel South windows reglazed, new mullions
1972 | East Chancel window reglazed - ventillator deleted. Iron bars removed and replaced by bronze bars
South Chancel window mullion renewed, reglazed
1974 | Vestry window repaired
1976 | Chancel roof retiled, re-using existing tiles with new tanalised battens and reinforced roofing felt
1977 | Ceiling and roof of the porch repaired.
Stonework repairs - contractors Batten and Co. 2 East buttresses and N buttress replaced in natural stone.
1980 | Repairs to windows and descaling of stonework
1981 | Repairs to Chancel ceiling
1984 | Porch roof re-leaded. New lead flashing between Chancel and Nave (North side).
1986 | Repairs to lead flashing and repointing where Chancel joins Nave on South side
Rebuilding of walls of channel around Church and repointing where necessary
1987 |  | Batchelor Construction | 266.8
|  | A Tomlinson | 118.5
1988 | Repairs to Church yard stone wall
1989 | Repairs to Church yard stone wall
1990 | Repairs to Church yard stone wall
1992 | Entrance to South door repaired
1995 |  | Peter Gilbert Scott | 2591.82
1996 | Restoration of Tower | Peter Gilbert Scott | 3764.3
|  | Walbrooke Associates | 455.06
|  | Bowden and Ward | 21636.39
|  | Bucks Hist Churches Trust | 126.5
1997 | Repairs to South Aisle windows and porch door. New gutters all round | Peter Gilbert Scott | 574.09
|  | Bowden and Ward | 13375.75
|  | Tom Seemark | 383.05
1998 |  | Wallbrook Associates | 196.5
1999 | Repairs to guttering and downpipes of Church porch | Peter Gilbert Scott | 1718.32
|  | L Phelps | 95
2000 |  | Peter Gilbert Scott | 240
2001 |  | L Phelps | 80
|  | L Holder | 23
2002 |  | L Phelps | 1600
2003 | Repairs to all Clerestorey windows | Architects fee | 531
|  | Builders fee | 14375
2005 | New oil fired stove | Project | 4465
2006 | Installation of Infra Red Heaters, new wiring, consumer board, upgrade electrical supply and Electrical Test and Inspection | Project | 1768
2007 | Settlement cracks in East End filled in. Repars to leadwork on North side of Nave | Project
| Electric heating brought upo to date. Gutters and Downpipes cleaned |  | 3769
2010 | Lead stolen from Porch roof | Project | 370
2011 | Porch roof recovered in lead substitute | Project | 78
|  | Property damage | 560
2012 |  | Project | 118
2013 | Electrical Test and Inspection and remedial works carried out
Fire risk assessment carried out and recommendations implemented - purchase of fire blankets.
2014 | Removal of rotten joists to NE Nave floor, and both Choir stalls and relaying of floor. | structural repairs | 1811
Repointing of walls to South and North elevations.
Repointing of cracks to interior of Church
Installation of a tell-tale to the South West Arch
Installation of a chain screen to the South door
2015 | Investigation of beams to the South Aisle roof and strenghening plates inserted. | Structural repairs | 296
2018 | Installation of 3 phase ekectricity |  | 1060
| Installation of a roof alarm by Marriott Security (5 cameras) |  | 3580
| New Consumer Board and wiring works,(new sockets and light + spurs to the Bell Chamber) |  | 5345
2019 | Stonework repairs by Bowden and Ward, to inckude new treads to the Bell Tower steps,
new stonework to the North Clerestorey Window plus new glasing, new glasing to the
vestery window, various pieces of stonework cut into the South Chancel window, pointing
| to the external and internal stonework. |  | 43519.4
| Structural Engineers fees |  | 800
| Woodworm treatment to the roof timbers |  | 200
| New Oak pegs to timber roof frame |  | 420
Renewal of suspended timber floor, repairs to the parquet floor, renewal of the Bell
| Chamber ceiling and external drainage work (concrete canvas) all by JG Restorations. |  | 72193.85
| Replacing bases on 8 flower stands, repairs to the font cover and works to the pulpit |  | 4938
2020 | Installing guttering to the Chancel roof plus hedgehogs and various stonework pointing. |  | 9601.74
| Installation of Infrared heaters to the chancel and some electrical repairs |  | 590
| Repairs to the Nave roof and installation of a Chimney cowl |  | 550
| Payment of retention to JG Restoration |  | 1851.12
2021 | Removal and refurbishment of 3 bells plus Sanctus plus installation of electronic chiming |  | 19268
| Electrical work associted with the Bell Chiming syatem |  | 884
| Unblock hoppers, fit hedghogs and lime pointing |  | 1185.8
2022 | Repairs to the Nave lead roof |  | 450
| Lowering the old Treble for display |  | 464.2
| Repairs to the roof salarm, repolacement of one camera |  | 313
2023 | Electrical Installation report |  | 80
| Leaflet table top by door |  | 150
2024 | Repairs to lead roof above the nave. |  | 540
| Repointing as required in the QQ report and repairs to the tiled roof above the Chancel |  | 1850
| Wiring for card reader (estimated) |  | 100
245320.19